## Introduction
Water Utility NRW Practices Assessment Tool |  | Spreadsheet Tabs ONLY ENTER DATA ON THIS TAB AND GREEN COLORED TABS
Version Date: | 2015-08-04 | Introduction | Summary of the purpose and uses of the NRW Practices Assessment Matrix, and a description of the different pages of the spreadsheet.
PROBLEM | NRW Project planners do not have a consistent methods of assessing the levels of NRW at a given utility, the practices already underway (current maturity) nor a consistent method for developing NRW Programs (Targets, Plans, Funding, Activities, and Monitoring). | Rating Fields and Criteria | Summarizes the main categories of Practices - called "Fields", and the Criteria to rate the Practices in Field
PURPOSE | The purpose of the NRW Assessment Practices Matrix is to 1) document the practices being conducted in a given water utility to reduce and control NRW, and 2) provide a quantative rating on the completeness and maturity of practices in different domains of NRW Management. The results show strengths and weaknesses of the current fields of Practice. A companion tool - the NRW Performance Trend Tool assembles and synthesizes quantative information on the level and components of NRW, over time. These two sets of information provide the base data for planning a robust and effective NRW Management Program. | Historical NRW Practices | Stores NRW Practices Rating information for a series of years. Practices information is most useful if collected over at least several years. The Practices Ratings can be related to the Historical NRW Performance data
TWO-LEVEL ASSESSMENT | This version of the tool has a two-level assessment approach. The 12 Rating Fields are separated into two groups - a set of 8 Basic Fields, and 4 additional "Advanced" Fields. If a quick analysis is required a Rating can be prepared using just the 8 Fields. Or if smaller less sophisticated utilities are being studied, the Basic set of Fields may be better to use than the full 12 Fields. Of course any comparison of Practices in different utilities is to be made the number of Fields utilized should be consistent. | Current NRW Practices Rating | A summary table and graph of the Rating Scores in each NRW Practice Area, with a raw score - calibrated to a perfect score of 100, and optional capability for weightings to be applied to determine a weighted score, for the year of analysis
|  | Monitoring and Analysis | Documents utility practices on use of experiences, program results,and information system data to assess plans and procedures, and revise strategies, plans and targets
USES | More broadly, The NRW Assessment Practices Matrix can be used by utility managers, technical consultants, regulators, auditors, funding agencies and other technically qualified stakeholders in order to prepare: | NRW Management and Planning | Documents utility practices on NRW leadership, organization, planning, budgeting, human and material resources, incentives and use of outside resources
- An initial assessment of existing practices at the water utility
| - A work plan to introduce new or improved practices | Information Systems | Documents utility practices on establishing information systems, and keeping them up to date so that NRW planning and programs are based on accurate information
- A training program to introduce new or improved practices
| - A monitoring report (e.g. repeat every 6 months to measure progress on practice improvement). | Water Balance Practice | Documents utility practices on water audit / water balance as per IWA terminology and methods, focusing on accuracy and validity
- Information to assist in decision making on possible outsource of performance contracting to improve practices or reduce NRW
| - A comparison of the NRW Practices, and Performance to other utilities. | Apparent Loss Management | Documents utility policies and activities on all components of apparent loss reduction and control
ASSOCIATED TOOLS | The NRW Practices Assessment Matrix and NRW Performance Trend Tool can be used by themselves. They are best used in combination to see the link between Practices and Performance. Both can be used with the broader IWA Water Utility Efficiency Assessment Matrix (IWA WUEAM) which provides a rating score on many aspects of water utility operations, including Utility Corporate Governance, Human Resources, Accountability to customers, Financial, Commercial, and Technical areas. | Real Loss Management | Documents utility policies and activities on all components of real loss reduction and control
|  | Monitoring and Analysis | Documents utility policies and practices on monitoring the results of their NRW and on Analysy and refinement / Adjustment of NRW Practices
Location, Time Frame of Rating and Participants
Utility Name
City and Country
Date Performed:
Rating Period:
Rating Team Leader:
Other Participants:

## Rating Fields and Criteria
Non-Revenue Water Practices Assessment Rating Fields and Criteria
Practices Field |  | NRW Management | Information Systems | Water Balance Practice | Apparent Loss Reduction and Control | Real Loss Reduction and Control | Monitoring and Analysis
Description of Practices Field |  | Rates utility practices on NRW leadership, organization,planning, budgeting, human and material resources, incentives and use of outside resources | Rates utility practices on establishing information systems, and keeping them up to date so that NRW planning and programs are based on accurate information | Rates utility practices on water audit / water balance as per IWA terminology and methods, focusing on accuracy and validity | Rates utility policies and activities on all components of apparent loss reduction and control | Rates utility policies and activities on all components of real loss reduction and control | Rates utility practices on use of experiences, program results,and information system data to assess plans and procedures, and revise strategies, plans and targets
Criteria for Basic NRW Practices Assessment | 1 | Top Management Interest / Leadership regarding good NRW management | Information Systems Plan | Water Audit / Water Balance Procedures | Planned Customer Database Verification / Update | Leak repair capabilities | Regular Water Balance Update
| 2 | NRW Management Organization | General NRW Information System (Key Indicators and Trends) | Estimation of system Input (master metering) - including imports and exports | Written guidelines on customer meter class and meter sizing | Leak Repair Time - distribution pipes | Assessment of NRW plans and activities for effectiveness and cost efficiency, for planning
| 3 | Communication and Coordination among Departments regarding NRW | Water Source / Supply Information System | Estimation of billed metered consumption (customer metering) | Written guidelines on meter replacement, based on financial analyses | Leak Repair Time - service connections | (Large) customer consumption monitoring
| 4 | NRW Program Planning and Budgetting | Billing and Customer Information System | Investigation and analysis of customer metering inaccuracies | Customer meter reading control and efficiency improvement | Use of Pressure Management | Billing accuracy and efficiency investigation and improvement
| 5 | Oversight of Plans and Budgets | Water Distribution Network Maps and Data Systems (GIS or other) | Estimation of billed unmetered consumption | Use of customer meter workshop for meter testing | Active leakage control program based on financial considerations | Monitoring of arrears and deliquent accounts
| 6 | Technical Skill Level and Training of NRW Personnel | Maintenance Management System | Estimation of unbilled authorized consumption | Reduction of the number of unmetered connections, especially large uses (gov't, etc) | Use of District Meter Areas (DMAs), Zones or Sectors | Pressure Monitoring and Control
| 7 | Technical Resources Available | Program on Data Validity Improvement | Estimation of unauthorized consumption | Program to reduce unknown or unauthorized use: unauthorized connections, meter tampering, bypasses | Pipe Rehabilitation / Replacement Policies and Implementation, based on financial considerations | Customer reporting feedback system / call center, with response rate monitoring
| 8 | Reporting and Public Information on NRW Progress, Targets, Plans and Budgets | Information Systems Integration / Compatibility | Estimation of data handling errors | Public education on water use, cost of water supply, and consequnces of unauthorized use | Information / Promotion to the public and local authorities on the importance of prompt reporting of bursts | Regular NRW Monitoring Reports
Criteria for Advanced NRW Practices Assessment | 9 | Advanced, Ongoing, Staff Training / Capacity Building | Database on pipe material, age and condition, break rate | Use of uncertainty analysis to examine expected range of water audit results, by category | Program for residents of slum areas with unauthorized connections to "legitimize" their connections | Analysis of pipe material, burst frequency, age etc for planning rehabilitation and / or replacement | Monitoing and quality control on the team and their efforts on reducing unknown and or unauthorized water use
| 10 | Use of internal awards and recognition for excellent staff performance | Database on meter type, size, class, and age | Use of leak / burst records for leakage component analysis | Use of disconnection policy for non-payment | Efforts to reduce or eliminate storage tank overflows or leakage | Quaility control on crews or contractors which conduct leak detection, repairs, rehabiliation or replacement works
| 11 | Performance-based compensation bonus systems for staff | Database on DMA configuration and performance | Night flow testing and analysis to estimate leakage | Assessment of different type or class of water meters for both large and small customers | Regular maintenance of valves, air valves, PRVs, hydrants and mains flushing | Zone or DMA performance analysis
| 12 | Experience in contracting for NRW services | Water Network Hydraulic Model | Water balance refinement using a comparison of top-down and bottom up audit methods | Use of AMI / AMR Systems (perhaps for large customers only) | Use of flow / pressure / noise sensors to detect leakage | Use of SCADA for real time monitoring and operational optimization
DO NOT ENTER ANY DATA ON THIS PAGE

## Historical NRW Practice Rating
Historical Scores on NRW Practices
LOCATION: | 0 |  |  | This Analysis: |  | 0
BASIC SCORE (unweighted) | PREVIOUS 1 | PREVIOUS 2 | 0 | FUTURE 1 | FUTURE 2 | FUTURE 3
NRW Management and Planning |  |  | #DIV/0!
Information Systems |  |  | #DIV/0!
Water Balance Practice |  |  | #DIV/0!
Apparent Loss Management |  |  | #DIV/0!
Real Loss Management |  |  | #DIV/0!
Monitoring and Analysis |  |  | #DIV/0!
Overall NRW Practices Rating |  |  | #DIV/0!

## Current Rating
Location: | 0 | [6 empty] | Period Covered: | 0
NRW Practices Field | Rating of NRW Practices | [6 empty] | Weighted Scoring to 100
| Basic Score | None | Poor | Deficient | Adequate | Good | Excellent | Score | Weight | Net Score | Specific Comments
|  | 0 | 1 | 2 | 3 | 4 | 5
NRW Management and Planning | #DIV/0! | [6 empty] | #DIV/0! | 100% | #DIV/0!
Information Systems | #DIV/0! | [6 empty] | #DIV/0! | 100% | #DIV/0!
Water Balance Practice | #DIV/0! | [6 empty] | #DIV/0! | 100% | #DIV/0!
Apparent Loss Management | #DIV/0! | [6 empty] | #DIV/0! | 100% | #DIV/0!
Real Loss Management | #DIV/0! | [6 empty] | #DIV/0! | 100% | #DIV/0!
Monitoring and Analysis | #DIV/0! | [6 empty] | #DIV/0! | 100% | #DIV/0!
Overall NRW Practices Rating | #DIV/0! | [6 empty] | #DIV/0! | 100% | #DIV/0!
Prepared by: | Weighting should only be applied when one or more particular Practice Fields are more important than others. For example, if water production costs are very high, Real Loss management is very important, so a higher weighting for Real Loss Management could be applied. A HIGHER WEIGHT would lower the Net Score for that area. To balance scoring, adjust other weights to arrive at a net weight of 100%
0
Date: | Comments:
0
DO NOT ENTER ANY DATA ON THIS PAGE EXCEPT IN GREEN AREAS

## NRW Management
NRW Management |  | Enter Rating which best describes the situation | Practices Rating Scale
Rates utility practices on NRW leadership, organization,planning, budgeting, human and material resources, incentives and use of outside resources |  |  | None | Poor | Deficient | Adequate | Good | Excellent
|  |  | 0 | 1 | 2 | 3 | 4 | 5 | Rationale, Source and Basis for Rating
1 | Top Management Interest / Leadership regarding good NRW management |  | Top management has no understanding, information or concern about NRW | Top management has very little understanding, information or concern about NRW | Top management has some understanding, information or concern about NRW | Top management thinks NRW is important but does not want to allocate resources to improving it. | Top management thinks NRW is important, reviews information on NRW status, but has only allocated limited resources to improving it. | Top management requests and reviews NRW reports, provides financial and other support to NRW activities and holds staff accountable
2 | NRW Management Organization |  | There is no Unit for the management of NRW - no particular unit is in charge of NRW | There is no Unit for the management of NRW but different departments communicate periodically on what they are doing | There is no Unit for the management of NRW but different departments communicate consistently and coordinate their activities to some degree | There is a cross-Unit Task Force for the management of NRW, with a designated leader to ensure consistent communication and coordination | There is a specific Unit for the management of NRW, with a designated leader. But there are some responsibility overlaps with other Departments | There is a specific Unit NRW Management with its own staff and a high level leader who reports to top management and works with other departments as necessary.
3 | Communication and Coordination among Departments regarding NRW |  | The communication between departments is non-existant: planning, commercial, water production, water distribution, finance | The communication between departments (planning, commercial, water production, water distribution, finance) is very infrequent: for example, only in writing during the annual planning process | The communication between departments is loosely structured but infrequent - semi annually or quarterly. There is no coordination of NRW related activity | The communication between departments is well structured but infrequent - semi annually or quarterly. There is little coordination of NRW related activity | The communication between departments is well structured and fairly frequent. The various "functions" meet quarterly or monthly, and coordinate activity on NRW | The communication between departments is well structured and frequent. The various "functions" meet monthly, coordinate activity on NRW and informally exchange information and ideas frequently
4 | NRW Program Planning and Budgetting |  | The utility has no targets, plans or budget for NRW management, and has little if any interest to develop them | The utility has no targets, plans or budget for NRW management, but sees that this should be started | The utility has only informal targets, plans or budget for NRW management, which are part of budget for Distribution or another department | The utility has some targets and plans, but no formal budget for NRW. Targets are based on "rules of thumb", without a reliable baseline | The utility has a short run NRW management plan, with a rough baseline, targets, activities, and a program budget but does not monitor progress closely | The utility has a 10 year NRW management plan, with targets, strategies, activities, financial analyses, and a program budget (CAPEX and OPEX)
5 | Oversight of Plans and Budgets |  | Utility management does not supervise activities focusing on NRW | Utility management pay no attention to progress on plans and expenditures on NRW management. | Utility management only briefly reviews progress on plans and expenditures on NRW management, once each year. | Utility management only briefly and sporadically reviews progress on plans and expenditures on NRW management, twice each year and provides comments.. | Utility management regularly reviews reports and convenes quarterly meetings with staff working on NRW to assess progress and help solve problems | Utility management reviews reports and convene broad monthly meetings with staff working on NRW to assess progress and help solve problems
6 | Technical Skill Level and Training of NRW Personnel |  | The skill level of engineering personnel and operational crews is very poor and they receive no NRW training. | The skill level of engineering personnel and operational crews is poor, and they receive no training | The skill level of engineering personnel and operational crews is poor to adequate, but there is interest in improving skills | The skill level of engineering personnel and operational crews is adequate, and there is some interest in more training | The skill level of engineering personnel and operational crews is good and both staff and the company want to improve skills | The skill level of engineering personnel and operational crews is excellent, staff want to learn more, and some training is underway
7 | Technical Resources Available |  | The utility has no special equipment for NRW work, such as pipe locators, listening devices, leak correlators, pressure sensors and data loggers | The utility has some special equipment for NRW work, but the equipment is rarely used out of lack of interest or training | The utility has some special equipment for NRW work, but the equipment is rarely used due to its age and poor condition | The utility has a modest supply of special equipment for NRW work, such as pipe locators, listening devices, which are used. | The utility has a reasonable supply of special equipment for NRW work, such as pipe locators, listening devices, leak correlators, pressure sensors and data loggers | The utility has a full supply of special equipment for NRW work, such as pipe locators, listening devices, leak correlators, pressure sensors and data loggers, and investigates new technologies
8 | Reporting and Public Information on NRW Progress, Targets, Plans and Budgets |  | No reporting or distribution of information to the public on NRW is carried out | The utility has no program to provide information to the public regarding NRW | The utility has a small program to provide information to the public via providing summary reports to newspapers and local municipal officials. | The utility has a small annual program to provide information to the public via providing summary reports to newspapers and more detailed information to local officials, and the public via its website | The utility has a modest quarterly program to provide both summary and detailed information to politicians, newspapers, NGOs and the public, via print media, their website and social networking tools | The utility has a strong, proactive quarterly program to provide both summary and detailed information to politicians, newspapers, schools, NGOs and the public, via print media, their website and social networking tools
9 | Advanced, Ongoing, Staff Training / Capacity Building |  | No staff ever receive any training. | Staff training is seen as important, but is not planned, budgeted or conducted. | Some senior staff receive sporadic training | Senior and mid-level staff receive some training at least every 2 years | Senior and mid-level staff receive some training at least every year, as part of an ongoing program | The utility has a comprehensive staff development / retention plan.
10 | Use of internal awards and recognition for excellent staff performance |  | There are no programs to give awards or recognition to staff for good performance | There are sporadic programs to give awards or recognition to staff for good performance, but the reasons for the choices are not communicated | There are sporadic programs to give awards or recognition to staff for good performance, and the reasons for the choices are clearly communicated to all | There are quasi-regular programs to give a few annual awards or recognition to staff for good performance , and the reasons for the choices are clearly communicated to all staff | There are regular monthly programs to give multiple awards or recognition to staff for good performance, across many departments and the reasons for the choices are clearly communicated to all staff | The utility has a regular monthly programs to give multiple awards and recognition to staff for good performance, across all departments. Top management are clearly visible in the process.
11 | Performance-based compensation bonus systems for staff |  | There is no linkage between staff performance and compensation | A pay scale with at least some performance incentive is desireable, but not premitted | Staff who exhibit good performance received non-financial "rewards" for their performance | A small portion of senior and mid level staff compensation is based on performance | A major portion of senior and mid level staff compensation is based on performance | All staff have some form of incentive pay for good performance.
12 | Experience in contracting for NRW services |  | The organization has no experience or interest in utilizing external resources for NRW activities | The organization has considered utilizing external resources for NRW activities, but have no experience or internal capabilities to do so. | The organization has considered utilizing external resources for NRW activities, and have identified specific areas where external expertise would be most beneficial, but have no experience or internal capabilities to do so. | The organization has used external resources for NRW activities, specific areas where external expertise would be most beneficial, but procurement mechanisms are cumbersome and impede good use of these resources. | The organization and its staff have made some use of external resources for NRW activities, and know specific areas where external expertise is most beneficial, | The organization and it staff have considerable experience utilizing external reources for NRW activities, and make good choices on which activities to outsource and which not to, and the best methods to procure the services.
NRW Management Rating (0-5) |  | #DIV/0! | 0: Comments:
DO NOT ENTER ANY DATA ON THIS PAGE EXCEPT IN GREEN AREAS

## Info Systems
Information Systems |  | Enter Rating which best describes the situation | Practices Rating Scale
Rates utility practices on establishing information systems, and keeping them up to date so that NRW planning and programs are based on accurate information |  |  | None | Poor | Deficient | Adequate | Good | Excellent
|  |  | 0 | 1 | 2 | 3 | 4 | 5 | Rationale, Source and Basis for Rating
1 | Information Systems Plan |  | No plan for information systems development and or improvement exists, nor has such a plan been contemplated | No plan for information systems development and or improvement exists, but the utility recognizes the need because its systems have limited effectiveness | The utility has a part time information systems specialist who works with different departments to try to assure that information is kept up to date. | The utility has an information systems specialist who tries to assure that information is kept up to date, that individual information systems are regularly validated, and that systems are compatible for integration. | The utility has a draft information systems plan which it is not totally implemented. The plan is intended to assure that information is kept up to date, that individual information systems are regularly validated, have scheduled enhancements, and that systems are compatible for integration. | The utility has an information systems plan which it is fully working or currently implementing. The plan assures that information is kept up to date, that individual information systems are regularly validated, have scheduled enhancements, and that systems are compatible for integration.
2 | General NRW Information System (Key Indicators and Trends) |  | No information gathering / storage on these parameters | Simple paper system with annual estimates of water connections, water production, billed authorized consumption and non-revenue water | Simple paper or computer system with quarterly estimates of water connections, water production, billed authorized consumption and non-revenue water | Simple computer system with quarterly estimates of water connections, water production, billed authorized consumption and non-revenue water, and key IWA indicators | Simple computer system with quarterly estimates of water connections, water production, billed authorized consumption, non-revenue water, major water loss components, and key IWA indicators | The utility has a complete database on these parameters with GIS compatibility. The utility is continually updating the database
3 | Water Source / Supply Information System |  | No information gathering / storage on these parameters | Simple paper system with estimated water production amounts for each production facility by quarter | Simple paper or computer system with estimated water production amounts for each production facility, and information on imports and exports by month | Simple computer system with measured water production amounts for each production facility, and measured information on imports and exports by month, with large meter calibration at least every 5 years | Computer system with measured water production amounts for each production facility, and measured information on imports and exports by day, with large meter calibration at least every 2 years | Computer system with measured water production amounts for each production facility, and measured information on imports and exports by day, with large meter calibration at least every years, with data export for modeling
4 | Billing and Customer Information System |  | Simple paper system, with irregular reading / billings, and uncertain reliability | Simple paper system, with irregular quarterly reading / billings, and improved reliability due to simple verification process | Simple computerized database with customer information and monthly or quarterly consumption history, with simple verification process | Simple computerized database with customer information and monthly of quarterly consumption history with simple data verification and data export capability | Computerized database with customer information, geo coordinates, consumption history, metering equipment used, etc.. Links directly to a GIS system. | Computerized database with customer information, geo coordinates, meter reading dates, consumption history and trend analysis, metering equipment used, etc.. Links directly to a GIS system.
5 | Water Distribution Network Maps and Data Systems (GIS or other) |  | There are no maps of the distribution system at all | There are some old paper maps of parts of the distribution system, but they are not organized | There are some maps which are old and of unknown accuracy | Maps are about 10 years old and are not in GIS (or CAD) form. Maps include pipes, valves, connections, PRVs, air valves, etc. They have not been updated. | Maps are recent but are not in GIS (or CAD) form. Maps include pipes, valves, connections, PRVs, air valves, etc. They are not continuously updated. | Utility uses GIS based updated maps. Maps include pipes, valves, service connections, PRVs, air valves, etc. Maps are updated when new connections are installed, or expansions / renovations take place
6 | Maintenance Management System |  | There is no system to manage information on maintenance conducted, whether corrective or preventive maintenance | There are some paper records of corrective maintenance = repairs and replacements (mains only), but the data is not complete or well organized | There are paper records of corrective maintenance = repairs and replacements (mains and service connections), but the data is not complete | Computerized database with some information, over a few years, of routine network maintenance (flushing, etc), repairs and replacements (mains and service connections) | Computerized database with some information, over a few years of routine network maintenance (flushing, etc), repairs and replacements (mains and service connections), with geo location information, which can be linked directly to a GIS systems | Computerized database with detailed records, over many years, of routine network maintenance (flushing, etc), repairs and replacements (mains and service connections), with geo location information, which can be linked directly to a GIS systems
7 | Program on Data Validity Improvement |  | No effort made to organize efforts to improve information validity, nor is there any concern to do so. | The utility realizes much of its information is of questionable accuracy, but does not plan for the xtra effort to improve reliability | There are paper records, some checking is done, but the accuracy is not adequate | The utility began records on computers, verification is made, and the accuracy is regular | The utility has records on computers, verification is made, and the accuracy is good | The utility has a thorough program to assess and improve data validity, using testing and analyses focusing on the components of the water balance, data system cross-checks, trend analyses, outside expert advice, and financial audits.
8 | Information Systems Integration / Compatibility |  | There are very few information systems in use, organized in different ways, making integration essentiall impossible. | The information systems, developed by different departments, were are all conceived independently, making integration and compatibility difficult | The information systems of various departments have little integration | The information systems of various departments have basic integration | The information systems of various departments are integrated and synchronized | All the information systems and databases use a common GIS base layer, so they can be integrated. Updates and upgrades are synchronized so that information is complete and consistent.
9 | Database on pipe material, age and condition, break rate |  | The utility has no such records | The utility has some paper records of partial information on these parameters, but they are out of date. | The utility has paper records of partial information on these parameters, and are up to date. | The utility began records on computers, and are up to date | The records are fully in specific database and are updated regularly | The utility has a complete database on these parameters with GIS compatibility. The utility is continually updating the database
10 | Database on meter type, size, class, and age |  | The utility has no such records | The utility has some paper records of partial information on these parameters, but they are out of date. | The utility has paper records of partial information on these parameters, and are up to date. | The utility began records on computers, and are up to date | The records are fully in specific database and are updated regularly | The utility has a complete database on these parameters with GIS compatibility. The utility is continually updating the database
11 | Database on DMA configuration and performance |  | The utility has no such records | The utility has some paper records of partial information on these parameters, but they are out of date. | The utility has paper records of partial information on these parameters, and are up to date. | The utility began records on computers, and are up to date | The records are fully in specific database and are updated regularly | The utility has a complete database on these parameters with GIS compatibility. The utility is continually updating the database
12 | Water Network Hydraulic Model |  | The utility has no hydraulic model, nor has any knowledge of the usefulness of this tool | The utility has no hydraulic model and no intention of developing one, despite being aware of the potential benefits | The utility would like to have a hydraulic model, but lacks the skills and resources to develop it. | The utility has a hydraulic model providing flow and pressure information for some parts of the network | The utility has a hydraulic model for most of the extent of the network providing flow and pressure information but it is out of date | The utility have a fully developed hydraulic model providing flow and pressure information which is updated regularly as the network is modified or expanded.
Information Systems Rating |  | #DIV/0! | 0: Additional Comments
DO NOT ENTER ANY DATA ON THIS PAGE EXCEPT IN GREEN AREAS

## Water Balance Practice
Water Balance Practice |  | Enter Rating which best describes the situation | Practices Rating Scale
Rates utility practices on water audit / water balance as per IWA terminology and methods, focusing on accuracy and validity |  |  | None | Poor | Deficient | Adequate | Good | Excellent
|  |  | 0 | 1 | 2 | 3 | 4 | 5 | Rationale, Source and Basis for Rating
1 | Water Audit / Water Balance Procedures |  | No water audits or water balances are done | Attempts have been made to a water balance but the split between real and apparent losses in unknown | An annual water balance is prepared using our own format. | An annual water balance is partially prepared using the IWA format. | An annual water balance is prepared in accordance with the IWA format | An annual water balance is prepared in accordance with the IWA format and use confidence limits to indicate accuracy bands.
2 | Estimation of system Input (master metering) - including imports and exports |  | System input is not metered. | Not all, but more than 50% of our system input is metered. | The system input is fully metered, but the accuracy of these meters is not known | The system input is metered with ultrasonic and/or magnetic flow meters, but they are rarely calibrated. | The system input is metered with ultrasonic and/or magnetic flow meters; they are calibrated every 2-5 years | The system input is metered with high accuracy flow meters that are calibrated, at least annually.
3 | Estimation of billed metered consumption (customer metering) |  | There is no reliable information on actual accuracy of the existing customer meters | The only information on actual accuracy of the existing customer meters is based solely on manufacturers literature | We have some anecdotal information on actual accuracy of the existing customer meters, based on meter test bench measurements, or in-situ measurements | We have reliable information about real accuracy of existing water meters, based on bench test measurements, or measurements in situ | We conduct periodic tests on different types of existing meters to provide an accurate estimate of customer meter error with a 68% confidence interval. | We conduct sufficient tests on different types of existing meters to provide an accurate estimate of customer meter error with a 95% confidence interval.
4 | Investigation and analysis of customer metering inaccuracies |  | No investigations are conducted on this water balance component | No estimate is made | A rough estimate is performed without much precision and rarely | It held an estimate based on accurate information | It held an estimate based on regular accurate information | The utility carefully and thoroughly investigates error in both small and large customer meters, due to low flows, wear from age, air, and meter installation configuration
5 | Estimation of billed unmetered consumption |  | No investigations are conducted on this water balance component | No estimate is made | A rough estimate is performed without much precision and rarely | An estimate based on accurate information is held but are not smooth | It held an estimate based on regular accurate information | The utility carefully and thoroughly investigates and documents the number of and water use by unmetered connections.
6 | Estimation of unbilled authorized consumption |  | No investigations are conducted on this water balance component | No estimate is made | A rough estimate is performed without much precision and rarely | An estimate based on accurate information is held but are not smooth | It held an estimate based on regular accurate information | The utility carefully and thoroughly investigates and documents various types of unbilled authorized consumptions, usch as water use by government agencies, fire fighting, water line flushing, etc
7 | Estimation of unauthorized consumption |  | No investigations are conducted on this water balance component | No estimate is made | A rough estimate is performed without much precision and rarely | An estimate based on accurate information is held but are not smooth | It held an estimate based on regular accurate information | The utility carefully and thoroughly investigates and documents various types of unauthorized consumption, including illegal connections, undocumented connections, meter tampering, meter bypasses and other unauthorized consumption.
8 | Estimation of data handling errors |  | No investigations are conducted on this water balance component | No estimate is made | A rough estimate is performed without much precision and rarely | An estimate based on accurate information is held but are not smooth | It held an estimate based on regular accurate information | The utility carefully and thoroughly investigates and documents various types of data handling errors, mainly due to flawed meter reading / data transfer problems
9 | Use of uncertainty analysis to examine expected range of water audit results, by category |  | We do not use uncertainty analysis in water audits | It is not performed | A rough estimate is performed without much precision and rarely | An estimate based on accurate information is held but are not smooth | It held an estimate based on regular accurate information | The utility employs standard statistical procedures to account for accumulated error in each component in water balamces to properly understand the accuracy of component estimates, and to plan efforts to reduce those uncertainties.
10 | Use of leak / burst records for leakage component analysis |  | We have no records of leak repairs | The only way to know the number of leaks repaired is to look into the customer complaints book. | We keep basic leak repair records that only tell us whether the leak was on a main pipe or a service connection. | There are kept detailed records that indicate the location, the pipe diameter, material and type of leak | We keep detailed records that indicate location, pipe diameter, material and type of leak as well as date of detection and date and duration of repair. | We keep detailed records that indicate location, pipe diameter, material and type of leak as well as date of detection and date and duration of repair, and have linked this to our GIS.
11 | Night flow testing and analysis to estimate leakage |  | The network has no zoning or the existing sectors are not equipped with flowmeters or pressure sensors | The sectors have instruments, but the devices have not been calibrated or are not equipped with data loggers | All the sectors have effective flow-metering but no Minimum Night Flow survey is realized | All sectors have effective flow-metering, the Minimum Night Flow survey is conducted sporadically, but there is no control of pressure levels | All the sectors have effective flow-metering, the Minimum Night Flow survey is realized but there is no control of the pressure levels | All the sectors have effective flow-metering, the Minimum Night Flow survey is realized and there is control / regulation of the pressure levels
12 | Water balance refinement using a comparison of top-down and bottom up audit methods |  | We do not do such verification, nor have we considered it. | We recognize this would be a good idea, but do not have the equipment or resources to do this verification | We have made some attempts to refine and verify our top dowm audit with partial information on real losses | We refined and verified our audit more than 5 years ago, but have not done so since. | We refined and verified our audit within the past 2-3 years | We refine and verify our audit every year
Water Balance Practice Rating |  | #DIV/0! | 0: Additional Comments
DO NOT ENTER ANY DATA ON THIS PAGE EXCEPT IN GREEN AREAS

## Apparent Loss Mgmt
Apparent Loss Management |  | Enter Rating which best describes the situation | Practices Rating Scale
Rates utility policies and activities on all components of apparent loss reduction and control |  |  | None | Poor | Deficient | Adequate | Good | Excellent
|  |  | 0 | 1 | 2 | 3 | 4 | 5 | Rationale, Source and Basis for Rating
1 | Planned Customer Database Verification / Update |  | No efforts are ever made to verify / update the customer database, other than in the case of complaints, or the addition of new customer accounts | The customer database is audited internally every five years to remove inactive accounts, verify new accounts - in the office only | The customer database is audited internally every five years to remove inactive accounts, verify new accounts and conduct field surveys to ensure database completeness and accuracy. | The customer database is audited independently every three to five years to remove inactive accounts, verify new accounts and conduct field surveys to ensure database completeness and accuracy. | The customer database is audited independently on a bi-annual basis to remove inactive accounts, verify new accounts and conduct field surveys to ensure database completeness and accuracy. | The customer database is audited independently on a annual basis to remove inactive accounts, verify new accounts and conduct field surveys to ensure database completeness and accuracy.
2 | Written guidelines on customer meter class and meter sizing |  | The utility has no guidelines on the size, class and type of meter to use for different demands | The utility has informal guidelines on the size, class and type of meter to use for different demands, but they are rarely followed | The utility has written guidelines on, the size, class, and type of meter to use for different demands, but they are often not followed | The utility has written guidelines on, the size, class, and type of meter to use for different demands, but they are sometimes not followed | The utility has detailed written gudelines on the size, class and type of meter to use for different demands -but they are only used consistently for large users | The utility has detailed written gudelines on the size, class, and type of meter to use for different demands, which are used consistently
3 | Written guidelines on meter replacement, based on financial analyses |  | The utility has no guidelines on the replacement of meters for different demands | The utility has no guidelines on the replacement frequency of meters. Meters are only replaced if they are broken or stop working and are reported. | The utility has no guidelines on the replacement frequency of meters. Meters are only replaced if field surveys determine that meters are stopped or broken, (or are reported) | The utility has some guidelines on the replacement frequency of meters for large and small meters, based on "rules of thumb" from other utilities or general guidance documents | The utility has specific guidelines on the replacement frequency of meters for different demands, based on generic financial analyses of meter cost and meter error. | The utility has specific guidelines on the replacement frequency of meters for different demands, based on a utility specific financial analysis of meter cost and meter error.
4 | Customer meter reading control and efficiency improvement |  | There is no plan or system of checking and controlling meter readers | Meter readers are never subject to spot checks and / or accuracy verification | Meter readers are subject to spot checks and accuracy verification | Meter readers are rotated if there is a suspicion of inaccuracies | Meter readers are regularly rotated and often spot checks are made | Meter readers are using handheld meter reading devices
5 | Use of customer meter workshop for meter testing |  | There is no meter workshop - no testing & calibration of water meters is carried out | Meter testing is done at another facility, and only on a limited basis - small samples of new meters | The utility's meter workshop is only used for acceptance testing of new meters or customers' complaints management | The utility' is building its own meter workshop to expand meter testing activity beyond testing of new meters or customers' complaints management | The utility has a meter workshop for new and repaired meter acceptance testing, management of customer complaints, and sporadic testing of old meters. | The utility has a well functioning water meter workshop for systematically testing and calibrating new, repaired or older water meters; water meter workshop is accredited
6 | Reduction of the number of unmetered connections, especially large uses (gov't, etc) |  | The utility has no interest in reducing the number of unmetered connections | The utility has an interest in reducing the number of unmetered connections, but has faced political pressure to move customers off a low flat rate system, and not moved forward. | The utility has been successful in reducing the number of large unmetered connections, but this has only impacted a small number of customers. | The utility is gradually reducing the number of unmetered connections, but this has only impacted a modest number of customers. | The utility is steadily reducing the number of unmetered connections, but there is still a substantial number of unmetered connections | The utility has (or had) an aggressive program to convert unmetered connections into metered, billed connections, including financial incentives, meter cost financing, etc
7 | Program to reduce unknown or unauthorized use: unauthorized connections, meter tampering, bypasses |  | No assessment is made and there is no program to deal with unauthorized connections | Unauthorized connections are occasionally detected, in the course of other activities | Small efforts are made to identify unauthorized connections and other forms of fraud. Unauthorized users have an opportunity to be "legitimized" | Modest efforts are made to identify unauthorized connections and other forms of fraud. Unauthorized users have an opportunity to be "legitimized" | There is an illegal connections detection / legitimization program in place, which covers the full network at least every 5 years | There is an illegal connections detection legitimization program in place, which covers the full network at least every 2 years
8 | Public education on water use, cost of water supply, and consequnces of unauthorized use |  | The utility has no interest or activity in providing information to consumers on the cost of water supply, impacts of water waste, and the consequences of unauthorized water use | The utility has some interest in providing information to consumers on the cost of water supply, impacts of water waste, and the consequences of unauthorized water use, but has taken no action | The utility has interest in providing information to consumers on the cost of water supply, impacts of water waste, and the consequences of unauthorized water use, and has posted information on its website | The utility has a small ad-hoc program providing information to consumers on the cost of water supply, impacts of water waste, and the consequences of unauthorized water use, using its website and print media | The utility has a small but consistent program providing information to consumers on the cost of water supply, impacts of water waste, and the consequences of unauthorized water use, using its website and print media | The utility has a strong program to inform customers on the cost of water supply, impacts of water waste, and the consequences of unauthorized water use, including websites, print media, school programs, social media, etc.
9 | Program for residents of slum areas with unauthorized connections to "legitimize" their connections |  | The utility has no interest or incentive to conduct a program in slum areas to legitimize" water users, and these residents do not pay at all | The utility has no such program, (even though the utility understand the loss in revenue), due to public and political opposition. | The utility has no such program, (even though the utility understands the loss in revenue), because they assume that such a program will be difficult and lead to little revenue increase. | The utility has tried several pilot programs involving citizens, NGOs and local government to improve service and require payment, but has slowed down the process | The utility has a modest program, involving citizens, NGOs and local government to improve service and require payment. | The utility has a very active program, involving citizens, NGOs and local government to improve service and require payment. Financial assistance mechanisms are in place for hook-up costs
10 | Use of disconnection policy for non-payment |  | Customers are never disconnected for non-payment, nor has such a policy been considered. | Customers are never disconnected for non-payment, but such a policy been considered, but stopped by political considerations | Large customers are sometimes disconnected for non-payment, but such a policy is enforced sporadically. | Large customers are often disconnected for non-payment, or the utility accepts a partial payment arrangement. | Large and small customers are disconnected for non-payment, but only after a long period of non-payment (for example, >180 days) | Large and small customers are consistently disconnected for non-payment of water bills after a prescribed period of non-payment.
11 | Assessment of different type or class of water meters for both large and small customers |  | No studies have been undertaken to determine the size, type and class of meter that is financially most attractive for different types of users. Staff have no guidance. | No studies have been undertaken to determine the size, type and class of meter that is financially most attractive for different types of users. Staff can get verbal guidance from engineers. | The utility has adopted generic guidelines or commercial information for 2 classes of customer - large and small - and provided simple written guidance to staff.. | The utility has adopted generic guidelines or commercial information to determine the size, type and class of meter that is financially most attractive for different types of users - and provided simple written guidance to staff.. | The utility has undertaken a modest, recent study to determine the size, type and class of meter that is financially most attractive for different types of users - and provided written guidance to staff. | The utility has undertaken significant recent studies to determine the size, type and class of meter that is financially most attractive for different types of users, with advice from outside consultants - and provided written guidance to staff.
12 | Use of AMI / AMR Systems (perhaps for large customers only) |  | There are no AMI / AMR systems in use at the utility, nor any interest in investigating or utilizing this technology | There is some interest in the possible use of AMI / AMR systems for use in the utility, but information is lacking | The utility has gathered commercial information conducted some financial analyses on the pros and cons of AMI / AMR use in the utility | There are pilot AMI / AMR systems in use for large customers, to assess the usefulness of this technology | If financial analyses indicate a positive return, the use of AMI / AMR systems are planned for use in the utility. | There are full scale AMI / AMR systems in use for large and small customers, to assure accurate measurement and billing
Apparent Loss Management Rating |  | #DIV/0! | 0: Additional Comments
DO NOT ENTER ANY DATA ON THIS PAGE EXCEPT IN GREEN AREAS

## Real Loss Mgmt
Real Loss Management |  | Enter Rating which best describes the situation | Practices Rating Scale
Rates utility policies and activities on all components of real loss reduction and control |  |  | None | Poor | Deficient | Adequate | Good | Excellent
|  |  | 0 | 1 | 2 | 3 | 4 | 5 | Rationale, Source and Basis for Rating
1 | Leak repair capabilities (personnel, equipment and motivation) |  | Have no capability for repair of water mains or service connections - must be contracted out which takes a long time, and being expensive, often is not done | Have limited capability for repair of service connections, but they often leak again afterwards. No capabilities for mains repairs. | Have basic skills for network repairs - quality of repairs to serice connections is adequate, but the quality of mains repairs is poor. | Have good capability for network repair - for both serive connections and mains, but have to return for further work in a moderate number of cases. | Have very good capability & commitment to network repair, only occasionally have ongoing problems | Have excellent skils for network repair - repairs are well done, hardly ever requiring return visits
2 | Leak Repair Time - distribution mains |  | Leaks take many weeks to be repaired and there are no records | Leaks take more than 2 weeks to repair and we have no records of repair time | The average repair time is about 5 - 14 days, and basic records are kept | The average repair time is between 5 and 3 days and basic records are kept | The average repair time is between 3 and 1 days and good records are kept | The average repair time is less than 1 day and good records are kept
3 | Leak Repair Time - service connections |  | Leaks take many weeks or months to be repaired and there are no records | Leaks take many weeks to repair and we have no compiled records of repair time | Leaks take more than 2 weeks to repair and we have no records of repair time | The average repair time is about 5 - 14 days, and basic records are kept | The average repair time is between 5 and 2 days and basic records are kept | Our average repair time is less than 2 days and good records are kept
4 | Use of Pressure Management |  | We have no pressure management hardware in any part of the distribution network - and pressures are high (>30m) in nearly all areas of the network | We have no pressure management hardware in any part of the distribution network - and pressures are high (>30m) in many areas | We have a few zones or sectors with basic pressure management hardware, some are in disrepair, and we still have zones with high pressure (>30m). | We have zones or sectors with basic pressure management hardware in operating condition, but still have a few zones with high pressure (>30m). | We have zones or sectors with advanced or basic pressure management hardware as needed, in good operating conditon, to ensure reasonable pressures in all network areas | We have restructured our network, as warranted, to facilitate the installation and maintenance of advanced pressure management hardware to ensure reasonable pressures in all network areas
5 | Active leakage control program based on financial considerations |  | We only repair visible or reported leaks, and only large ones | We have basic sonic leak detection equipment but we do not use it - we just repair all reported or visible leaks | We have basic sonic leak detection equipment and do leak detection if there is a specific problem observed in an area (many leaks) | We have started to do regular, active leak surveys in some areas, but have not determined the optimal frequency of active leak detection. We keep some records, but they are not really utilized. | We consistently do regular lactive leak surveys, based on "rule of thumb" frequency of leak detection. We keep records on leaks detected, and estimated volume. | We consistently do regular active leak surveys, based on the optimal frequency of leak detection, based on records collected detailed financial calculations
6 | Use of District Meter Areas (DMAs), Zones or Sectors |  | None of the water distribution system has sectors, zoning or DMAs in place, with verified isolation | Less than 25% of the water distribution system has sectors, zoning or DMAs in place, with verified isolation, and these are not actively used in leak detection or monitoring | Less than 50% of the water distribution system has sectors, zoning or DMAs in place, with verified isolation, and these are not actively used in leak detection or monitoring | More than 50% of the water distribution system has sectors, zoning or DMAs in place, with verified isolation, and these are sporadically used in leak detection and system monitoring | More than 75% of the water distribution system has sectors, zoning or DMAs in place, with verified isolation, these are used in leak detection and system monitoring | The entire water distribution system has sectors, zoning or DMAs in place, with verified isolation. The DMAs are actively used to assess leakage. We have examined tradoffs on the size of the DMAs.
7 | Pipe Rehabilitation / Replacement Policies and Implementation, based on Asset Mgmt principles |  | Over the past year we did not rehabilitate or replace any part of the water supply network | Over the past year we rehabilitated or replaced less than 0.5% of the water supply network, and only in burst prone areas. | Over the past year we rehabilitated or replaced between 0.5% and 1.5% of the water supply network, focusing on burst prone areas | Over the past year we rehabilitated or replaced between 1.5% and 3% of the water supply network, focusing on burst prone and high leakage areas | We have just developed an asset management approach, with planned rehabilitation / replacements schedules, based on pipe material, age, cost and benefit considerations | We have been implementing an asset management approach, with planned rehabilitation / replacements schedules, based on pipe material, age, cost and benefit considerations, for at least several years.
8 | Information / Promotion to the public and local authorities on the importance of prompt reporting of bursts |  | No effort is made to encourage citizens, and / or staff of public authorities (police, fire, trash, other) to report leaks | Sporadically, newspaper announcements are made to encourage citizens, and / or staff of public authorities (police, fire, trash, other) to report leaks | In addition to occasional newspaper announcements, a one meeting was held with staff of public authorities (police, fire, trash, other) to report leaks | There are regular newspaper and website announcements on leak reporting, and multiple meetings with staff of public authorities (police, fire, trash, other) to report leaks | Ongoing, diverse efforts are made to encourage citizens, and / or staff of public authorities (police, fire, trash, other) to report leaks, or other anomalies - including promotion on websites, news media, radio, social networks etc. | Ongoing, diverse efforts are made to encourage citizens, and / or staff of public authorities (police, fire, trash, other) to report leaks, or other anomalies - including promotion on websites, news media, in schools, social networks etc. A telephone or text message "hot-line" is available
9 | Analysis of pipe material, burst frequency, age etc for planning rehabilitation and / or replacement |  | The utility does no such analysis. | The utility has some of this data does no such analysis, but has old data of this type which it can use.. | The utility has some of this data and does rudimentary analyses, but has only has old data of this type. | The utility does have basic data and conducts occasional analytical work of this type for planning | The utility does have good data and conductsregular but simple analytical work of this type for planning | The utility does have comprehensive data and conducts extensive analytical work of this type for planning
10 | Efforts to reduce or eliminate storage tank overflows or leakage |  | The utility has no such program, and they are unaware of the need for such an effort | The utility has no such program, but it is needed, as there is some evidence of losses from storage . | The utility just performs simple tank inspections on an irregular basis. | The utility regularly performs simple tank inspections | The utility regularly performs simple tank inspections and has limited manual observation of overflows | The utility has an advanced program using electronic sensors and transmission devices, which are linked to a SCADA system.
11 | Regular maintenance of valves, air valves, PRVs, hydrants and mains flushing |  | The utility does not do these activities at all, nor do they understand the need or benefits of such a program | The utility does not do these activities but they understand the need and benefits of such a program | The utility sporadically conducts some of these preventive network maintenance activities, when time allows | We conduct some of these preventive network maintenance activities on a regular basis | We conduct many of these preventive network maintenance activities, on a regular and planned basis | We conduct these preventive network maintenance activities, on a regular and planned basis, and keep records of all activies and any problems detected
12 | Use of flow / pressure / noise sensor systems to detect leakage |  | The utility has no such devices / systems, and they are unaware of the potential benefits | The utility has no such devices / systems, they are aware of the potential benefits, but have not investigated this technique at all | The utility is informally investigating the technique of using flow / pressure and noise sensors, to help detect invisible leaks, and other anomalies. | The utility is seriously investigating the effectiveness and cost/benefit of the use of flow / pressure and noise sensors, to help detect invisible leaks, and other anomalies. | The utility has a "lift and shift" type system of a limited number of flow / pressure and noise sensors which it deplys in different areas on a rotational basis, to help detect invisible leaks, and other anomalies. | The utility has a permanent system of a large number of flow / pressure and noise sensors which it monitors consistently to help detect invisible leaks, and other anomalies.
Real Loss Management Rating |  | #DIV/0! | 0: Additional Comments
DO NOT ENTER ANY DATA ON THIS PAGE EXCEPT IN GREEN AREAS

## Monitoring and Analysis
Monitoring and Analysis |  | Enter Rating which best describes the situation | Practices Rating Scale
Rates utility practices on use of experiences, program results,and information system data to assess plans and procedures, and revise strategies, plans and targets |  |  | None | Poor | Deficient | Adequate | Good | Excellent
|  |  | 0 | 1 | 2 | 3 | 4 | 5 | Rationale, Source and Basis for Rating
1 | Regular Water Balance Update |  | No water balances or updates ever done | Any old water balances are not available and cannot be updated | Old water balances are used, with no updates | Water balances are updated annually using the top down method using new water production data and new billed consumption data. No defaults parameters are investigated | Water balances are updated annually using the top down method using new water production data and new billed consumption data. Some investigations / refinements are made to improve on default values of parameters | Water balance is fully updated every year, using updated information on source metering, studies of components of apparent losses and components of real losses. Results of special investigations are used.
2 | Assessment of NRW plans and activities for effectiveness and cost efficiency, for planning |  | No attempt is made to review progress on NRW reduction from previous efforts, or learn from experience | Staff talk to counterparts in other utilities informally and adopt some (ill-informed) methods from others | Sporadically the team performs an analysis of the activities, the costs and results of their losses activities, makes benchmarking | Every two years, the team conducts an analysis of the activities, costs and results of their losses activities, makes benchmarking, and performs brainstorms and refinements to their goals and plans | Each year, the team conducts an analysis of the activities, costs and results of their losses activities, makes benchmarking, and performs brainstorms and refinements to their goals and plans | Each year, staff conduct a careful analysis of activities, expenses and results from their NRW activities, talk with other utilities, get advice from consultants, and, in a team effort, "brainstorm" refinements to their targets, plans and budgets.
3 | (Large) customer consumption monitoring |  | The utility does no analytical monitoring of its large consumers. | The utility does sporadic monitoring of its large consumers, but does no analysis | The utility makes regular monitoring of its major consumers, but makes no analysis | The concessionaire makes regular monitoring of its major consumers, and makes some consumer analysis and revenue projections | The utility makes regular monitoring of its major consumers, and makes regular analysis of consumption and revenue projections | The utility does extensive analytical monitoring of its large consumers, to ensure full metering and billing.
4 | Billing accuracy and efficiency investigation and improvement |  | No effort made to investigate, the accuracy, completeness and speed of water billing. | a large percentage (>40%) of customer bills are inaccurate - not reflecting consumption or erroneous calculation | A reasonable percentage (> 30%) of customer accounts are inaccurate - not reflecting actual consumption | A small percentage (<15%) of customer accounts are inaccurate - reflecting adequate consumption precision | A small percentage (<10%) of customer accounts are inaccurate - reflecting consumption calculation with few errors | A small percentage (<5%) of customer bills are inaccurate - not reflecting consumption or erroneous calculation
5 | Monitoring of arrears and deliquent accounts |  | No monitoring of past due accounts | No tabulation of accounts which are behind in payment | There is a small treatment and investigation of delinquent accounts | There is an appropriate treatment and investigation of delinquent accounts | There is an appropriate treatment and investigation of delinquent accounts and they are evaluated on a regular basis | Full tabulation of accounts with of arrears of 90 days and 180 days, prioritized by volume and financial value - sent to utility top management for decisionmaking
6 | Pressure Monitoring and Control |  | The network has no zoning, and no pressure measurment or PRVs | The network has a few major zones due to topography but no pressure or flow instruments or PRVs | Network sectors have pressure and flow instruments, but the devices have not been calibrated. PRV effectiveness is unknown | All the sectors have effective pressure and flowinstruments and PRVs, but operators are not monitoring consistently | All the sectors have effective pressure and flow-metering, and PRVs, which are monitored and used for occasional pressure adjustments. | All the sectors have effective pressure and flow-metering, which are monitored continuously and used for pressure control. Flow modulated PRVs are used.
7 | Customer reporting feedback system / call center, with response rate monitoring |  | No facility or system for customers to register concerns or complaints, or report leaks or service interruptions | The utility has a small customer care department, that tries to help, but reponses are slow, and case closure not tracked. | The utility has a telephone customer care department, that tries to help, but reponses are slow, and case closure not tracked. The type of complaint and location are recorded. | The utility has a customer care center with people to talk to face to face, and complaints phone line. The type of complaint and location are recorded, Response rates are OK | The utility has a customer care center with people to talk to face to face, and complaints phone line. The type of complaint and location are recorded and anlyzed. Response rates are OK | The utility has a customer care center with people to talk to face to face, call-in telephone lines and email correspondence. The type of complaint and location are recorded and anlyzed; follow-up and closure is monitored until customer has received an informed response.
8 | Regular NRW Monitoring Reports |  | No reports ever issued | Periodic studies / tabular data are prepared on an irregular basis, but not circulated | Annual studies / tabular data on NRW are prepared, but no interpretation or analysis to assist in planning and budgetting | Quarterly studies / tabular data on NRW are prepared, but little interpretation or analysis to assist in planning and budgetting | Quarterly studies / tabular data on NRW are prepared, usiing IWA indicators, with some benchmarking and interpretation for planning and budgetting | Monthly detailed reports on IWA key NRW indicators, progress, issues, lessons learned. An executive summary communicated to the entire organization
9 | Monitoing and quality control on the team and their efforts on reducing unknown and or unauthorized water use |  | No monitoring, quality checks or supervision ever conducted | sporadic monitoring | Sporadic monitoring and poor verification | The utility does this on some projects. | Monitoring and verification in most projects | The utility does this on all projects.
10 | Quaility control on crews or contractors which conduct leak detection, repairs, rehabiliation or replacement works |  | No monitoring, quality checks or supervision ever conducted | sporadic monitoring | Sporadic monitoring and poor verification | The utility does this on some projects. | Monitoring and verification in most projects | The utility does this on all projects.
11 | Zone or DMA performance analysis |  | No analyses are ever prepared | Sporadic studies are done in a few zones on burst rates, once in a while | Annual studies are done in a modest number of zones or DMAs on burst rates | Annual studies are done in a modest number of zones or DMAs on burst rates and leakage | Analyses and reports are prepared on burst rates and leakage for representative zones or DMAs in the network, for assistance in planning performance improvement measures. | Detailed analyses and reports are prepared on pressures, burst rates, and leakage for each zone or DMA in the network, for assistance in planning performance improvement measures.
12 | Use of SCADA for real time monitoring and operational optimization |  | No SCADA in place; no knowledge of its capabilities | No SCADA in place;but staff are aware of SCADA capabilities and are interested to acess this technology | SCADA system in place for part of the network, but staff are not fully trained and many sensors are non-operational | SCADA system in place for part of te network, and staff understand it, but some sensors are non-operational | SCADA system in place for most of the network, and staff understand how to use it, but some sensors are non-operational, hampering its effectiveness | Full SCADA system installed across the network, staff fully trained, and it is used on a continuous basis to monitor flows, storage levels, pressures, pump efficiency, etc
Monitoring and Analysis Rating |  | #DIV/0! | 0: Additional Comments
DO NOT ENTER ANY DATA ON THIS PAGE EXCEPT IN GREEN AREAS